## Sheet1
FacilityID | FacilityName | County | City | State | Equipment ID | Equipment Name | Equipment Type | Inspection Date | Inspection Type | Inspection Result | Maintenance Date | Maintenance Description | Maintenance Cost | Maintenance Status
1 | Piketon Operations Center | Pike | Piketon | OH | 101 | Transformer T-101 | Transformer | 2026-06-01 | Electrical | P | 2026-06-03 | Routine transformer inspection and oil check | 325 | Completed
1 | Piketon Operations Center | Pike | Piketon | OH | 102 | Cooling Pump CP-12 | Pump | 2026-06-04 | Mechanical | P | 2026-06-05 | Pump seal inspection and lubrication | 210.5 | Completed
1 | Piketon Operations Center | Pike | Piketon | OH | 103 | Backup Generator BG-7 | Generator | 2026-06-06 | Safety | F | 2026-06-07 | Battery replacement and safety retest | 890 | Completed
1 | Piketon Operations Center | Pike | Piketon | OH | 104 | Control Panel CP-4 | Electrical Panel | 2026-06-09 | Electrical | P | 2026-06-10 | Wiring inspection and panel cleaning | 150 | Completed
1 | Piketon Operations Center | Pike | Piketon | OH | 105 | Air Handler AH-2 | HVAC | 2026-06-12 | Routine | P | 2026-06-13 | Filter replacement and airflow check | 175.25 | Completed
2 | Scioto Maintenance Hub | Scioto | Portsmouth | OH | 201 | Conveyor Motor M-8 | Motor | 2026-06-02 | Mechanical | F | 2026-06-04 | Bearing replacement | 840.5 | Completed
2 | Scioto Maintenance Hub | Scioto | Portsmouth | OH | 202 | Water Pump WP-3 | Pump | 2026-06-05 | Safety | P | 2026-06-06 | Pressure test and gasket replacement | 260 | Completed
2 | Scioto Maintenance Hub | Scioto | Portsmouth | OH | 203 | Compressor C-2 | Compressor | 2026-06-08 | Mechanical | F | 2026-06-09 | Compressor belt replacement | 615.75 | Completed
2 | Scioto Maintenance Hub | Scioto | Portsmouth | OH | 204 | Security Gate SG-1 | Security System | 2026-06-11 | Safety | P | 2026-06-12 | Sensor calibration | 95 | Completed
2 | Scioto Maintenance Hub | Scioto | Portsmouth | OH | 205 | Lighting Bank LB-5 | Electrical | 2026-06-15 | Electrical | P | 2026-06-16 | Lighting circuit repair | 130 | Completed
3 | Ross Regional Service Center | Ross | Chillicothe | OH | 301 | Emergency Generator EG-4 | Generator | 2026-06-03 | Routine | P | 2026-06-05 | Fuel system inspection | 410 | Completed
3 | Ross Regional Service Center | Ross | Chillicothe | OH | 302 | Boiler B-1 | Boiler | 2026-06-07 | Safety | F | 2026-06-08 | Valve replacement and safety check | 1250 | Completed
3 | Ross Regional Service Center | Ross | Chillicothe | OH | 303 | HVAC Unit H-9 | HVAC | 2026-06-10 | Mechanical | P | 2026-06-11 | Coil cleaning and filter replacement | 225 | Completed
3 | Ross Regional Service Center | Ross | Chillicothe | OH | 304 | Switchgear S-6 | Switchgear | 2026-06-14 | Electrical | P | 2026-06-15 | Thermal scan and connection tightening | 375.5 | Completed
3 | Ross Regional Service Center | Ross | Chillicothe | OH | 305 | Wastewater Pump WW-2 | Pump | 2026-06-18 | Environmental | F | 2026-06-19 | Pump motor repair | 980 | In Progress
4 | Jackson Field Station | Jackson | Jackson | OH | 401 | Fuel Tank FT-1 | Storage Tank | 2026-06-01 | Environmental | P | 2026-06-02 | Leak inspection and valve service | 300 | Completed
4 | Jackson Field Station | Jackson | Jackson | OH | 402 | Transfer Pump TP-6 | Pump | 2026-06-06 | Mechanical | P | 2026-06-07 | Seal replacement | 245.75 | Completed
4 | Jackson Field Station | Jackson | Jackson | OH | 403 | Generator G-12 | Generator | 2026-06-09 | Safety | F | 2026-06-10 | Exhaust repair and retest | 720 | Completed
4 | Jackson Field Station | Jackson | Jackson | OH | 404 | Breaker Panel BP-3 | Electrical Panel | 2026-06-13 | Electrical | P | 2026-06-14 | Breaker inspection | 180 | Completed
4 | Jackson Field Station | Jackson | Jackson | OH | 405 | Ventilation Fan VF-2 | HVAC | 2026-06-17 | Routine | P | 2026-06-18 | Fan belt adjustment | 115 | Completed
5 | Greenup Support Facility | Greenup | Greenup | KY | 501 | Cooling Tower CT-1 | Cooling System | 2026-06-02 | Routine | P | 2026-06-03 | Water treatment and fan inspection | 455 | Completed
5 | Greenup Support Facility | Greenup | Greenup | KY | 502 | Electrical Feeder EF-8 | Electrical | 2026-06-05 | Electrical | F | 2026-06-06 | Cable repair and load test | 1325 | Completed
5 | Greenup Support Facility | Greenup | Greenup | KY | 503 | Access Control AC-2 | Security System | 2026-06-08 | Safety | P | 2026-06-09 | Badge reader replacement | 275 | Completed
5 | Greenup Support Facility | Greenup | Greenup | KY | 504 | Air Compressor AC-9 | Compressor | 2026-06-12 | Mechanical | P | 2026-06-13 | Oil change and pressure test | 360 | Completed
5 | Greenup Support Facility | Greenup | Greenup | KY | 505 | Fire Suppression FS-1 | Safety System | 2026-06-16 | Safety | F | 2026-06-17 | Nozzle replacement and system retest | 690 | Scheduled